## Sheet1
Calibration | grav constant: | 9.8
Hung mass (kg) | Mass uncertainty (kg) | Gravitational force (N) | Uncertainty in grav force (N) | Scale reading (g) | Conversion factor | Average conversion factor | Uncertainty
0.099 | 0.00057735 | 0.9702 | 0.005658 | 180 | 0.00539 | 0.0054432 | 2.0259e-05
0.2 | 0.00057735 | 1.96 | 0.005658 | 356 | 0.0055056
0.299 | 0.0008165 | 2.9302 | 0.0080017 | 544 | 0.0053864
0.4 | 0.0008165 | 3.92 | 0.0080017 | 728 | 0.0053846
0.5 | 0.00057735 | 4.9 | 0.005658 | 893 | 0.0054871
1.001 | 0.00057735 | 9.8098 | 0.005658 | 1792 | 0.0054742
V(m^3) | u[V] (m^3) | 1/V (1/m^3) | u[1/V] (1/m^3) | Upslip scaleread 1 | Upslip scaleread 2 | Upslip scaleread 3 | Upslip scaleread 4 | Upslip scaleread 5 | Upslip force 1 | Upslip force 2 | Upslip force 3 | Upslip force 4 | Upslip force 5 | Avg Upslip force | u[Avg upslip] | Downslip scaleread 1 | Downslip scaleread 2 | Downslip scaleread 3 | Downslip scaleread 4 | Downslip scaleread 5 | Downslip force 1 | Downslip force 2 | Downslip force 3 | Downslip force 4 | Downslip force 5 | Avg Downslip force | u[Avg downslip] | Avg Fext (N) | u[Avg Fext] (N)
3e-06 | 1e-07 | 333333.3333 | 11111.1111 | 343 | 203 | 192 | 242 | 152 | 1.867 | 1.105 | 1.0451 | 1.3172 | 0.82736 | 1.2323 | 0.17682 | 1700 | 1608 | 1725 | 1768 | 1756 | 9.2534 | 8.7526 | 9.3895 | 9.6235 | 9.5582 | 9.3154 | 0.15491 | 5.2739 | 0.11754
3.2e-06 | 1e-07 | 312500 | 9765.625 | 219 | 230 | 210 | 150 | 267 | 1.1921 | 1.2519 | 1.1431 | 0.81648 | 1.4533 | 1.1714 | 0.10324 | 2358 | 2264 | 2200 | 2086 | 2130 | 12.835 | 12.3233 | 11.975 | 11.3545 | 11.594 | 12.0163 | 0.26293 | 6.5939 | 0.14124
3.6e-06 | 1e-07 | 277777.7778 | 7716.0494 | 421 | 596 | 501 | 441 | 473 | 2.2916 | 3.2441 | 2.727 | 2.4004 | 2.5746 | 2.6476 | 0.16663 | 2338 | 2001 | 2178 | 2046 | 2256 | 12.7261 | 10.8918 | 11.8552 | 11.1367 | 12.2798 | 11.7779 | 0.34303 | 7.2127 | 0.19068
4e-06 | 1e-07 | 250000 | 6250 | 594 | 633 | 710 | 502 | 582 | 3.2332 | 3.4455 | 3.8647 | 2.7325 | 3.1679 | 3.2888 | 0.18485 | 2280 | 2278 | 2397 | 2480 | 2440 | 12.4104 | 12.3995 | 13.0473 | 13.4991 | 13.2813 | 12.9275 | 0.22498 | 8.1081 | 0.14559
4.6e-06 | 1e-07 | 217391.3043 | 4725.8979 | 752 | 762 | 807 | 716 | 691 | 4.0933 | 4.1477 | 4.3926 | 3.8973 | 3.7612 | 4.0584 | 0.10844 | 2782 | 2580 | 2706 | 2576 | 2587 | 15.1429 | 14.0434 | 14.7292 | 14.0216 | 14.0815 | 14.4037 | 0.22716 | 9.2311 | 0.12586
5e-06 | 1e-07 | 200000 | 4000 | 962 | 694 | 680 | 609 | 874 | 5.2363 | 3.7776 | 3.7014 | 3.3149 | 4.7573 | 4.1575 | 0.35959 | 3021 | 2540 | 2641 | 2563 | 2700 | 16.4438 | 13.8257 | 14.3754 | 13.9508 | 14.6966 | 14.6585 | 0.47241 | 9.408 | 0.29685
5.6e-06 | 1e-07 | 178571.4286 | 3188.7755 | 1032 | 1004 | 738 | 920 | 851 | 5.6174 | 5.4649 | 4.0171 | 5.0077 | 4.6321 | 4.9478 | 0.29028 | 2688 | 2952 | 2873 | 2743 | 2814 | 14.6312 | 16.0682 | 15.6382 | 14.9306 | 15.3171 | 15.3171 | 0.25368 | 10.1325 | 0.19275
6e-06 | 1e-07 | 166666.6667 | 2777.7778 | 989 | 712 | 906 | 900 | 1023 | 5.3833 | 3.8755 | 4.9315 | 4.8989 | 5.5684 | 4.9315 | 0.29375 | 3394 | 2943 | 2800 | 2939 | 3040 | 18.4741 | 16.0192 | 15.2409 | 15.9975 | 16.5472 | 16.4558 | 0.54583 | 10.6937 | 0.30993
6.6e-06 | 1e-07 | 151515.1515 | 2295.6841 | 1151 | 984 | 935 | 796 | 806 | 6.2651 | 5.3561 | 5.0894 | 4.3328 | 4.3872 | 5.0861 | 0.35489 | 3392 | 3236 | 3246 | 3356 | 3300 | 18.4632 | 17.6141 | 17.6685 | 18.2673 | 17.9625 | 17.9951 | 0.16524 | 11.5406 | 0.19574
7e-06 | 1e-07 | 142857.1429 | 2040.8163 | 915 | 846 | 810 | 973 | 1348 | 4.9805 | 4.6049 | 4.409 | 5.2962 | 7.3374 | 5.3256 | 0.52568 | 3445 | 3343 | 3400 | 3185 | 3078 | 18.7517 | 18.1965 | 18.5068 | 17.3365 | 16.7541 | 17.9091 | 0.37495 | 11.6174 | 0.32285
8e-06 | 1e-07 | 125000 | 1562.5 | 1483 | 1222 | 986 | 1095 | 1103 | 8.0722 | 6.6516 | 5.367 | 5.9603 | 6.0038 | 6.411 | 0.46241 | 3425 | 3437 | 3380 | 3389 | 3063 | 18.6429 | 18.7082 | 18.3979 | 18.4469 | 16.6724 | 18.1737 | 0.37977 | 12.2923 | 0.29919
9e-06 | 1e-07 | 111111.1111 | 1234.5679 | 1473 | 1241 | 1382 | 1277 | 1299 | 8.0178 | 6.755 | 7.5225 | 6.9509 | 7.0707 | 7.2634 | 0.22688 | 3485 | 3500 | 3437 | 3460 | 3259 | 18.9694 | 19.0511 | 18.7082 | 18.8334 | 17.7393 | 18.6603 | 0.23757 | 12.9618 | 0.16425